Test Procedure:

- Physically install PXI –PCI controller card in one of PC’s PCI slot.

- Install all the modules in PXI chassis

- Connect Fiber Optic cable to PCI-PXI card and PXI-MXI card.

- It should display two LED for Power, Link (green colour) and  Tx , Rx ( Yellow colour)

- Run ”NI Max”, to check the modules connected in the system. It will show as follows:

So the modules connected with the chassis PXI-1042 are:

- PXI-MXI-4 Remote controller

- NI-PXI-6133 “Device 2”,

- NI-PXI-6133 “Device 3”,

- NI-PXI-6133 “Device 4”,

- NI-PXI-6133 “Device 5”.

- Run Test LabVIEW program

Block Diagram