## Slide 1: The Research and Implement of Real-Time Plasma Electron Density Calculations on EAST
Z.C Zhang, H.Q. Liu, B.J. Xiao, F. Wang, Q.P. Yuan, Y. Yang, Y. Wang
10th IAEA Technical Meeting on Control, Data Acquisition, and Remote Participation for Fusion Research
Institute of Plasma Physics, Chinese Academy of Sciences,
Hefei, Anhui 230031, China

## Slide 2: OUTLINE
Introduction
System Realization
Measurements and Results
Conclusions
Acknowledgments
References

## Slide 3: Background
Plasma activities associated with electron density profile in tokamak.
Plasma confinement and Magneto-Hydro-Dynamic(MHD) activity
Tokamak operation, including PCS real-time control
-- Received from reference [1][2][3]
To calculate the electron density real-time
To transfer the processed data to PCS for control
Purposes

## Slide 4: Introduction
3-wave far-infrared (FIR) POlarimeter-INTerferometer (POINT) system
line-integrated plasma density is proportional to phase shift
HCOOH laser
-- Received from reference [2][3]
Notes: The lasers are used to Detect faraday rotation angle and electron density. The formic acid lasers operating at 432 micrometer.

## Slide 5: Prototype design
Module design for density calculations system
POINT
System
PCS
System
RFM
Module
Acquisition
Module
Phase
Comparator
Digital
Filter
Density
Arithmetic
Density Calculations System

## Slide 6: OUTLINE
Introduction
System Realization
Measurements and Results
Conclusions
Acknowledgments
References

## Slide 7: Hardware structure
CONTROLLER
RFM
CHASSIS PXIe-1085
PXIe-8135
LabVIEW RT
PXIe
7966R
PXIe
7966R
PXIe
7966R
NI 5734
NI 5734
NI 5734
PXI
5565
Flex RIO
CLK
Phase Shift
PCS
Raw Data
MDSplus
TRIG
Density
Hardware structure of density calculations system
NI PXIe-7966R
Virtex-5 SX95T FPGA
512 MB onboard DDR2 DRAM
Access to 132 single-ended I/O lines
16 DMA channels for high-speed data streaming at more than 800 MB/s
Flex RIO Module
Digitizer Adapter Module
NI 5734
16 bit resolution
4 BNC connector
50 Ω impedance

## Slide 8: Software architecture
MEMORY
Adapter
Module
Adapter
Module
Adapter
Module
Flex RIO
FPGA
Flex RIO
FPGA
Flex RIO
FPGA
MDSplus
Database
Local
Storage
RFM Device
Retroflexion
Module
Watch Dog Module
Initiali-
zation
TRIG
POINT1
POINT2
POINT3
POINT4
POINT5
REF
CLK
CLK
CLK
Digital Data
TO PCS
Phase Shift
Density
Density
RT vi In controller
Software architecture of density calculations system
Digital
Filter
Arithmetic
Unit
POINT
Digital Data
REF
Digital Data
FFT
Module
iFFT
Module
Digital-Phase
Comparator
Digital
Filter
Arithmetic
Unit
FFT
Module
iFFT
Module
Phase Shift
Block diagram of Flex RIO FPGA
0.85MHz, 1.275MHz,2.125MHz

## Slide 9: Program diagram and compile results
Compile results of FPGA
Program diagram of Filter Module
Configuration of filter
Total Slice
0.85M
1.275M
2.125M

## Slide 10: Retroflexion module
Normal data points
C
B
D
Software workflow of retroflexion module
A
A
B
C
D
Difference value between two adjacent data points should be less
Interfered data points
Noise interference, should be replaced by former points average
Retroflexion data points (UP)
Phase (DEG)
t/s
Phase shift @ Shot NO.50650
Retroflexion data points (DOWN)
Large difference value between two adjacent points, smaller than former
Large difference value between two adjacent points, bigger than former
Phase Shift
Φ[k]
Interference Data?
Zero-Offset
Retroflexion？
Count n
Phase Shift
Φ =Φ ± n x 360
Discharge End?
END
N
Y
Y
N
n ± 1
n
Y
N
Φ[k]=Φ[k-1]
Φ[k]=0

## Slide 11: OUTLINE
Introduction
System Realization
Measurements and Results
Conclusions
Acknowledgments
References

## Slide 12: Bench test
Real-Time calculation results by new system
Raw data for bench test
Offline calculation results by Matlab

## Slide 13: Experimental results
Plasma Current @ Shot NO.50650
Phase shift @ Shot NO.50650
Electron density @ Shot NO.50650
t/s
t/s
t/s
Phase (DEG)
DEN (e19/m3)
IP (KA)

## Slide 14: OUTLINE
Introduction
System Realization
Measurements and Results
Conclusions
Acknowledgments
References

## Slide 15: Conclusions
The density measurement system (DMS) has been developed to provide real-time data processing ability for EAST POINT system.
The DMS can access 5 channels data at the rate of 10 M Sample/s, easy-upgradable, extensible.
The bench test and experiment results in 2014’ EAST campaign meet the requirements of design.
Future work
11-channels RT DMS will be applied to the POINT.
Processed data will be uploaded to the MDSplus.
Density data streamed to the PCS will be test.

## Slide 16: Acknowledgements
The author would like to thank the EAST CODAC Team and FIR Team for their work and help. This work is performed under the auspices of the Chinese National Fusion Project for ITER under grant No.2014 GB103000.

## Slide 17: References
[1] XU Q, GAO X, JIE Y X, et al. HCN laser interferometer on the EAST superconducting tokamak [J]. Plasma Science and Technology, 2008, 10(4): 519-521.
[2]LIU H Q, JIE Y X, DING W X, et al. Faraday-effect polarimeter-interferometer system for current density measurement on EAST [J]. Review of Scientific Instruments, 2014, 85, 11D405:1-4.
[3] Zou Z. Y, LIU H Q, JIE Y X, DING W X, et al.Optical layout and mechanical structure of polarimeter-interferometer system for Experimental Advanced Superconducting Tokamak EAST [J]. Review of Scientific Instruments, 2014, 85, 11D409:1-3.

## Slide 18
Thank you for your attentions !
धन्यवाद